## Sheet1
| DILUTION FACTOR | [6 empty] | Calibration Thresholds
|  | ul | [5 empty] | Min Forcast | 100%
| SAMPLE ALIQUOT | 200 | [5 empty] | Max Forcast | 100%
| NITRIC ALIQUOT | 800 | [5 empty] | R2 | 0.95
| TOTAL | 1000
DATA DUMP
SampleList | SampleList | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average | Raw.Average
SampleId | SampleLine | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 7Li | 11B | 23Na | 24Mg | 27Al | 31P | 39K | 44Ca | 55Mn | 57Fe | 85Rb | 88Sr | 115In | 238U
|  | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps) | Y (cps)
1 | Blank | 80.0004 | 3135.404 | 484484.4269 | 189142.7524 | 18583.8799 | 95420.0443 | 5805415.6557 | 118887.2937 | 8502.9251 | 49628.6293 | 190.0021 | 1735.129 | 130999074.4937 | 10
2 | 10ppm A | 4160.7064 | 10599.5365 | 1510287.3531 | 78239430.2003 | 2814297.4324 | 215281.4416 | 7462905.7487 | 10216032.1493 | 3669577.4255 | 483971.1691 | 986382.899 | 11183990.8159 | 134304578.4225 | 36558.6832
3 | 50ppm A | 20241.4887 | 43240.3009 | 5093905.2516 | 391745599.1604 | 13784768.9208 | 736789.6353 | 14182468.8724 | 50261761.1514 | 18300439.1302 | 2604968.0553 | 5354741.5804 | 56059662.6382 | 133960122.3547 | 180414.6309
4 | 100ppm A | 36263.8944 | 79748.6258 | 8697607.8549 | 700810133.0067 | 24736512.069 | 1440061.8403 | 20840795.9448 | 91562292.0531 | 32822698.6526 | 4507934.9695 | 9430351.2359 | 100076107.4652 | 116026130.5122 | 307893.8407
5 | 100 ppm B | 5131.0707 | 9593.7016 | 1552105.947 | 901677.1714 | 335421.3875 | 434567.0701 | 171363383.9183 | 520807653.0294 | 385578.8755 | 6159046.4244 | 5371601.5445 | 874780.1766 | 127869105.9997 | 33785.8594
6 | 100 ppm C | 1202217.1678 | 42336.8641 | 511355.6503 | 62165092.0207 | 13593119.5882 | 110563.4484 | 8051370.05 | 528921257.2498 | 53394.0779 | 5063356.7235 | 537482.1233 | 191762.1566 | 130262642.7905 | 3345.4608
7 | 100 ppm D | 22304.9989 | 12941.7469 | 5190235.2661 | 303600521.4687 | 1915246.777 | 746638.8822 | 6605826.1638 | 531913334.938 | 19138026.82 | 4611765.0988 | 55161.8197 | 38305489.2395 | 124507230.3423 | 169828.676
8 | Blank | 160.0016 | 3430.4899 | 2854401.75 | 225044.8404 | 30482.2839 | 109772.1114 | 6186661.5335 | 136427.2276 | 10819.7253 | 55161.807 | 580.0166 | 4405.8002 | 130423294.9215 | 10
9 | SRM88B - 10ppm | 8523.0308 | 13417.6561 | 1870987.4503 | 528554714.6719 | 1494762.4205 | 24776.8061 | 7702897.0378 | 47447478.7067 | 2220561.7265 | 655497.3377 | 6451.7696 | 856587.2372 | 117560375.3869 | 2125.1968
10 | 101 | 24068.2457 | 50702.908 | 7333173.1554 | 145213792.1636 | 3500471.2957 | 142094.5792 | 14669301.9121 | 578323605.3891 | 13762370.5846 | 5505676.3422 | 49232.1368 | 22326543.7939 | 130610989.9181 | 62129.5202
11 | 102 | 33665.5123 | 47113.9207 | 6667521.2697 | 180688951.9561 | 4587076.3411 | 134816.0257 | 16857976.1556 | 626484292.2987 | 13304093.6612 | 5878394.6468 | 65993.9532 | 23940666.6853 | 130369014.6375 | 70006.1912
12 | 103 | 33439.8133 | 47660.9947 | 6313093.9617 | 145312409.0063 | 5654561.618 | 129519.4014 | 17094879.9127 | 600228870.84 | 14285687.3893 | 5561349.2243 | 71951.9868 | 24367460.4235 | 132479428.1903 | 51671.9116
13 | 104 | 38925.7424 | 52319.8933 | 7586028.3998 | 143136859.8951 | 5634327.7843 | 130485.0536 | 18872655.1064 | 564234496.1829 | 20852135.0576 | 5232335.9702 | 82471.7162 | 22199360.0174 | 130651797.4076 | 30783.1547
14 | 105 | 39773.4614 | 55674.28 | 8791611.342 | 250075164.6128 | 4298172.1233 | 134597.9906 | 18258139.7539 | 494302889.012 | 7681672.9285 | 4533136.8538 | 71846.1603 | 25123534.7265 | 129908653.6262 | 42793.4634
15 | 106 | 40666.2525 | 50396.8447 | 7149082.9931 | 241006943.4101 | 6914358.6447 | 130864.2029 | 18060634.1916 | 578556241.4681 | 9795393.179 | 5702022.3027 | 76937.7737 | 28428839.9054 | 129782340.0978 | 40160.0721
16 | 107 | 46441.3295 | 67255.9564 | 12811232.2563 | 286714133.3753 | 3863204.9185 | 125089.111 | 25353513.4127 | 284980438.2603 | 8440446.2464 | 3167333.6025 | 103159.6709 | 12903791.5573 | 128429175.4181 | 28001.515
17 | 108 | 46928.0784 | 53037.7501 | 9385199.7775 | 301388923.3436 | 5799209.441 | 130303.3929 | 19965641.4329 | 580272914.7997 | 31437318.8234 | 5526507.7214 | 83171.2834 | 18377702.1738 | 126271728.68 | 92683.0969
18 | 109 | 34016.3307 | 45432.8831 | 6575755.9609 | 164357564.7733 | 4678670.5704 | 129241.1597 | 15041992.7535 | 557160160.4639 | 15470521.26 | 4899360.6695 | 57231.1568 | 18979741.8567 | 129423000.7263 | 120201.5964
19 | 110 | 54955.7944 | 66627.7074 | 9325151.8107 | 471472492.1787 | 6643008.482 | 129328.8011 | 20172377.4295 | 588670099.9571 | 21907306.5744 | 6012123.9321 | 82345.8476 | 21174777.2784 | 131465369.3712 | 66486.9192
20 | 111 | 47224.255 | 51245.3962 | 8312729.5426 | 117741187.8961 | 5536380.3721 | 147523.291 | 17266720.3654 | 549581658.8454 | 7141583.879 | 4751621.2605 | 70644.5003 | 37271016.2994 | 129983216.0594 | 104612.1059
21 | 112 | 46832.8578 | 55076.3264 | 9154873.5643 | 144750304.8417 | 4676954.3077 | 160167.2141 | 17845021.5405 | 528728901.6159 | 6061974.9738 | 4566671.2897 | 73400.5527 | 32940455.0061 | 122920699.3517 | 58673.0145
22 | 113 | 49061.7358 | 55111.8358 | 8604134.4627 | 150558635.617 | 4678640.4605 | 165588.6003 | 18073434.5846 | 544713502.9165 | 9371875.0253 | 4708406.3601 | 76000.8578 | 32339719.988 | 130789346.3711 | 69412.691
23 | 114 | 52550.5134 | 60476.4372 | 9515838.7088 | 141554195.7157 | 5197012.0095 | 147296.316 | 19014520.7693 | 552374645.481 | 7337917.8031 | 4764855.3131 | 80141.9192 | 32998786.1491 | 124256646.0919 | 91212.3263
24 | 115 | 161290.8099 | 134571.389 | 34163835.7447 | 203387814.3896 | 9784973.5808 | 120596.1169 | 62841908.8017 | 165193030.7914 | 10687206.0674 | 1372771.0585 | 312037.2963 | 21227384.7306 | 125313992.9512 | 47103.9247
25 | 116 | 50040.3264 | 55623.9303 | 8442249.3848 | 166922372.2023 | 6056136.9752 | 147340.6205 | 20074476.9358 | 564436723.8276 | 16900146.4227 | 4859781.049 | 91489.3167 | 25934867.8974 | 127655924.5616 | 80972.5551
26 | 117 | 45136.4503 | 54785.2991 | 9086226.2809 | 179399829.7472 | 4947913.042 | 121847.4834 | 18645432.0486 | 613639749.797 | 9785906.6152 | 5405930.797 | 79064.6353 | 24967437.8944 | 125901980.7236 | 83569.1048
27 | 118 | 56115.9031 | 60165.0803 | 10392762.8428 | 213158429.0229 | 3465453.515 | 138868.5901 | 20842629.1669 | 390126729.3408 | 6726717.4715 | 3537070.1606 | 84782.2956 | 18549581.2416 | 126514968.555 | 49588.5936
28 | 119 | 69317.0473 | 70474.0287 | 12838178.7446 | 297479765.906 | 4618300.2779 | 124044.5674 | 27844283.3649 | 300043409.7695 | 7813953.5739 | 3122158.1016 | 126806.5501 | 14051433.6486 | 126109033.7426 | 113580.0687
29 | SRM88B-10ppm | 8848.3084 | 13562.9034 | 1893457.5821 | 535668593.931 | 1436981.5769 | 24129.2776 | 7590620.2232 | 46355680.5429 | 2107937.2412 | 649348.1951 | 6056.5571 | 850119.8989 | 112166880.1373 | 1640.1232
30 | 120 | 67406.6044 | 69060.867 | 10617847.0069 | 854113063.442 | 4686228.1481 | 130726.162 | 28479961.1763 | 211717671.2933 | 10962733.8261 | 4631085.1819 | 126053.0049 | 5977073.5409 | 131658025.4689 | 29259.3252
31 | 121 | 76121.5443 | 84405.2423 | 10122296.6693 | 2063679626.9315 | 8604907.4941 | 139288.9982 | 27069344.9957 | 384609761.0944 | 27664474.4591 | 10951080.5605 | 123058.6714 | 9155657.8888 | 129258068.4295 | 41509.2552
32 | 122 | 45533.0751 | 59742.955 | 6889218.7167 | 1286467829.4316 | 5119238.2113 | 146553.1017 | 19634310.6556 | 322909429.8705 | 19335537.0781 | 7635378.523 | 79437.0995 | 6944461.4579 | 128720080.7755 | 20416.808
33 | 123 | 27785.9425 | 42873.6972 | 7662892.1534 | 67218050.9296 | 4849152.6632 | 225717.5525 | 14271589.1969 | 630389745.5888 | 6583811.8746 | 5492197.2145 | 47661.0518 | 24203367.2586 | 125669489.9012 | 14022.9785
34 | 124 | 31224.0717 | 43249.8302 | 4868938.8863 | 56179712.6401 | 4631127.0832 | 185271.406 | 14542294.997 | 510419491.3124 | 4566361.2734 | 4438946.343 | 55523.452 | 19507878.5909 | 127849504.786 | 11069.9523
35 | 125 | 8853.2516 | 35786.4346 | 4616024.7424 | 62652878.3906 | 524050.2708 | 195611.4069 | 8081441.3252 | 665265677.5581 | 6494296.6587 | 5631399.8426 | 9143.3699 | 24466825.3792 | 130973053.0314 | 22835.9195
36 | 126 | 105050.1738 | 121009.1443 | 17921994.5241 | 1498967117.9213 | 10091461.9636 | 138637.5072 | 36576531.4082 | 396533334.1399 | 16582005.0196 | 5096727.7761 | 155882.0415 | 16587491.6183 | 128342550.6995 | 68346.7701
37 | 127 | 91892.0677 | 107199.5498 | 13363885.5893 | 1965446981.4949 | 9516393.5264 | 130292.3553 | 30568161.9827 | 401700291.7314 | 20897784.4025 | 7155603.2677 | 126124.7569 | 13013930.5192 | 127231118.1091 | 74461.7432
38 | 128 | 44654.8317 | 69774.952 | 8475409.7628 | 2429778761.8726 | 4499396.395 | 119395.2915 | 18921669.6769 | 382973252.4521 | 39167046.8894 | 6463225.4067 | 69442.7668 | 6888318.7849 | 125107474.953 | 33179.3236
39 | 129 | 22640.5578 | 45081.8011 | 5585627.1263 | 266221778.4016 | 2983424.581 | 146895.5067 | 12695564.9221 | 591613940.1615 | 12907934.7574 | 5742092.0734 | 36523.384 | 18842036.5899 | 115901373.4077 | 136669.735
40 | 130 | 52796.6299 | 48690.1224 | 6784112.6874 | 154172445.6737 | 9284547.5153 | 130782.1602 | 24661648.9513 | 633701260.4137 | 8279402.3396 | 5536596.6443 | 123290.7729 | 28159700.1799 | 125391716.8705 | 151676.1326
41 | 131 | 44930.9437 | 47575.8554 | 5621673.5762 | 107627959.6461 | 8355959.0759 | 144750.1145 | 21725984.9356 | 662262242.105 | 7177215.4126 | 5631399.8426 | 58652.551 | 32756076.4077 | 128219739.1249 | 54639.797
42 | SRM88B-10ppm | 9408.5842 | 16340.7731 | 2099104.935 | 627336796.8035 | 1700593.5026 | 27981.5019 | 8402190.873 | 55074052.7252 | 2515366.1827 | 765960.8599 | 7287.1501 | 974564.0728 | 129392601.8217 | 1820.1395
43 | 132 | 58562.4952 | 46371.0339 | 4713297.1478 | 92974923.3932 | 11800558.4939 | 136855.346 | 23168859.3931 | 617233227.7378 | 7203056.8123 | 5353607.2739 | 90204.7095 | 40994445.5083 | 125689188.3914 | 53560.113
44 | 133 | 72655.8963 | 47430.1557 | 4053034.5598 | 96762496.8002 | 14626038.7326 | 126808.4621 | 28464845.1342 | 554853741.7954 | 9035026.1183 | 5162285.3519 | 134379.9537 | 16701544.5747 | 130375969.9068 | 26883.9296
45 | 134 | 45984.658 | 47952.2537 | 7578665.9713 | 118612638.7713 | 7274472.7087 | 129675.5018 | 22407139.5204 | 618613823.4865 | 8684516.5595 | 5515969.4943 | 102509.5756 | 33853594.1185 | 127605681.252 | 45061.4397
46 | 135 | 47028.4825 | 49603.5469 | 8609553.21 | 148234835.676 | 6203946.3347 | 138633.3485 | 23459023.0772 | 614482271.4355 | 8433995.3831 | 5199455.0677 | 107687.6763 | 41841257.1449 | 126847508.2522 | 55247.3405
47 | 136 | 44504.4365 | 49508.1003 | 8278597.3241 | 100427805.4482 | 4776949.1912 | 133881.7183 | 21994342.9249 | 417093331.7735 | 6033780.9062 | 3517709.2317 | 95116.2479 | 32681752.5992 | 130266047.4678 | 44885.6667
48 | 137 | 36403.0709 | 48067.7952 | 7077166.7915 | 74462245.3022 | 2931786.1513 | 125004.3357 | 21452095.1181 | 278639899.9946 | 4029497.6556 | 2373535.5169 | 93796.2666 | 20858543.3617 | 127131798.808 | 28236.9602
49 | 138 | 53735.7918 | 48664.8406 | 6857059.629 | 73359642.704 | 5456739.7617 | 124428.064 | 29112937.3972 | 256208644.5671 | 3564010.9437 | 2269868.7709 | 148017.9411 | 16070423.4921 | 127525622.6969 | 28788.3743
50 | 139 | 68382.2091 | 52028.3968 | 6466468.0722 | 107958852.8938 | 9917065.5874 | 125589.2329 | 32882524.5079 | 460542923.4735 | 7860096.2202 | 3982984.2133 | 182072.7417 | 20493826.4171 | 128192258.5152 | 69523.8007
51 | 140 | 43054.3959 | 50638.0787 | 8882552.0589 | 84680157.7577 | 3656831.8588 | 115967.0711 | 24058904.8145 | 255330662.9301 | 8019698.1694 | 2371942.529 | 111652.2968 | 9298918.5027 | 129968527.3087 | 40696.5334
52 | SRM88B - 10ppm | 9938.9855 | 17372.1727 | 2073689.8318 | 620520514.2891 | 1711071.7379 | 27460.3364 | 8226973.4323 | 54369177.9521 | 2475256.991 | 745071.4353 | 7487.2585 | 972429.4212 | 130334967.8643 | 1955.1607
53 | 141 | 48961.1067 | 51159.8289 | 7393957.3651 | 95317221.3914 | 5509883.6851 | 120454.7834 | 25898945.2368 | 344167830.9926 | 6957886.0578 | 3079882.6556 | 133025.2441 | 12746095.4586 | 127951693.7437 | 48087.6744
54 | 142 | 57130.5735 | 61214.7966 | 9846706.2457 | 197185460.1969 | 7399759.8843 | 127372.9303 | 25303533.9885 | 532988393.6053 | 9391379.4004 | 4713798.0111 | 123982.9897 | 19653916.8782 | 128562006.4716 | 68623.5317
55 | 143 | 59164.9853 | 65124.9405 | 12084030.4684 | 207715353.4863 | 6537081.9538 | 126786.3565 | 25287935.5196 | 537419770.8385 | 9281942.4006 | 4657512.4414 | 114825.4756 | 24696825.1602 | 125217105.5625 | 81571.3614
56 | 144 | 18458.915 | 67191.0682 | 15434436.0816 | 87650087.4384 | 1083853.0031 | 118571.6426 | 15132496.0351 | 166810818.9318 | 3178856.454 | 1220850.6438 | 55016.5822 | 10243958.774 | 130203304.1287 | 22505.3353
57 | 145 | 45658.5765 | 55714.6612 | 9409996.4367 | 142219208.2722 | 5613401.4235 | 122565.4524 | 26143085.397 | 522226052.9664 | 9145146.1508 | 4298804.2605 | 122316.0307 | 18347358.1953 | 130140074.4071 | 71328.4367
58 | 146 | 48554.3047 | 59823.671 | 9914793.9845 | 148812359.8211 | 8247503.3185 | 122221.8423 | 27462651.5455 | 558222507.6792 | 10325881.8259 | 4802637.7166 | 135264.2909 | 21370603.2584 | 128207822.7543 | 62209.7543
59 | 147 | 48248.1965 | 67110.3162 | 12137452.2496 | 170251785.728 | 6926703.692 | 129020.6186 | 26085194.1721 | 483680869.5959 | 9790080.7033 | 4287612.4999 | 122816.2853 | 22049576.0795 | 131345038.3472 | 58406.4542
60 | 148 | 36678.9018 | 51129.6089 | 7039883.4536 | 124037038.6693 | 10077099.5548 | 127286.3401 | 21244651.5622 | 587152187.5106 | 11743022.6707 | 5039502.752 | 106200.132 | 23176722.3074 | 128449943.9497 | 82109.3956
61 | 149 | 38895.5893 | 59009.163 | 8482035.9484 | 112528287.3852 | 10652318.5414 | 123494.5186 | 27615870.3208 | 532210551.7963 | 11084427.4663 | 4719230.5081 | 142008.435 | 23782633.8989 | 128827279.4727 | 40254.9746
62 | 150 | 45001.1418 | 55895.1603 | 9807862.0729 | 127277868.6985 | 8578832.3453 | 126427.9144 | 26337181.8094 | 531171019.161 | 11024130.8669 | 4531870.6327 | 131504.224 | 22285299.5513 | 129094643.9184 | 60567.0759
63 | blank | 140.0014 | 3180.4171 | 2712041.8325 | 216552.2016 | 28166.797 | 110093.982 | 6091623.4393 | 172979.987 | 11755.5576 | 56080.95 | 410.0087 | 4090.6831 | 124309224.0373 | 10
64 | 10ppm A | 4110.6923 | 10839.7932 | 1468380.4101 | 78484966.0127 | 2763321.4198 | 229979.6612 | 7825980.2143 | 10300885.2181 | 3672233.6634 | 508559.0559 | 1029737.2534 | 11008071.4957 | 126526593.0961 | 31835.7165
65 | 50ppm A | 305.0047 | 995.0437 | 380901.7835 | 3037309.9641 | 105941.2037 | 10679.7142 | 1960602.1144 | 481039.7637 | 150309.8219 | 31184.6466 | 42822.2627 | 442045.8768 | 5181023.9298 | 1335.0807
66 | 100ppm A | 33575.3029 | 69168.2114 | 7642895.7975 | 600400695.3895 | 21103334.5254 | 1302875.4092 | 18885809.2792 | 82010510.8575 | 29367122.9276 | 4001119.767 | 8379427.6308 | 87662137.5824 | 98592431.682 | 250085.1127
67 | 100 ppm B | 4615.8611 | 9363.5553 | 1497535.627 | 906958.058 | 337488.3022 | 445542.8656 | 172598621.8492 | 533311660.6859 | 397894.5568 | 5628499.7879 | 5392326.1351 | 903034.3667 | 122412964.6876 | 32332.0178
68 | 100 ppm C | 1232880.0818 | 44529.7719 | 501557.5369 | 61445769.1682 | 13422396.6164 | 110867.3268 | 8295831.8281 | 542218459.5079 | 54463.713 | 4446911.2822 | 540664.1106 | 195672.326 | 127268472.2831 | 2990.3641
69 | 100 ppm D | 22605.5284 | 13337.1617 | 5179132.7239 | 303879176.2028 | 1913741.2834 | 773698.1162 | 6756890.099 | 545765846.0541 | 19276568.5976 | 4257468.2688 | 57914.2788 | 38576186.1456 | 123118608.3802 | 162481.7278
70 | 1ppm A | 4565.8599 | 13337.1682 | 1486933.7299 | 84285927.1621 | 2962257.3413 | 279987.3343 | 8200954.5429 | 5981467.8123 | 4080611.2613 | 523748.8465 | 1111733.6713 | 11855177.7341 | 134231231.9454 | 33585.2025
71 | 5ppm A | 21398.3629 | 45824.0992 | 5407220.7589 | 407499195.8261 | 14951646.8838 | 822789.8145 | 15227373.3204 | 28714694.5114 | 19510848.7769 | 2543985.2138 | 5585727.3352 | 58413909.2531 | 131187596.3405 | 169211.2731
72 | 10ppm A | 43004.1705 | 87894.3324 | 10281590.1724 | 832239066.3763 | 29943803.5887 | 1588919.2867 | 24126573.2241 | 57810613.7209 | 39393054.7851 | 5003149.953 | 11279256.5164 | 117603563.7879 | 131608998.1156 | 345187.8098
73 | 10ppm B | 3860.6127 | 8252.7549 | 1521183.7473 | 878766.5789 | 337672.8086 | 429772.9979 | 173323323.4998 | 53359591.5165 | 377008.8233 | 1823682.8862 | 5326372.6736 | 785754.823 | 125773916.2183 | 32913.4411
74 | 10ppm C | 1198212.9123 | 44168.3476 | 606933.7592 | 63108256.1642 | 13891267.5365 | 107638.024 | 8170175.7083 | 53194177.5574 | 33474.8361 | 717235.6074 | 528105.9817 | 93590.1118 | 127343131.9928 | 3100.3979
75 | 10ppm D | 21528.6393 | 12431.2471 | 5624000.1036 | 317736174.4603 | 1928555.3403 | 781528.9335 | 7388033.0978 | 54646881.9062 | 19013676.9419 | 387807.1535 | 56693.4584 | 37589522.858 | 129035840.2774 | 165820.0225
76 | 1ppm A | 4505.8328 | 12731.5435 | 1451535.1737 | 81389220.1911 | 2931695.8216 | 267413.9519 | 7781371.8094 | 5682699.1664 | 3863179.2193 | 499111.4983 | 1064224.3815 | 11554136.8496 | 130905737.6971 | 33811.0469
77 | 5ppm A | 20672.1851 | 44665.195 | 5265979.9305 | 404409043.5718 | 14487412.8838 | 807009.5641 | 14679497.2001 | 28109695.4321 | 19049574.0993 | 2434150.7458 | 5519561.5316 | 56823522.8442 | 129446882.1058 | 169371.1907
78 | 10ppm A | 42532.5053 | 84938.2776 | 10099031.3953 | 823589108.4451 | 29861995.0677 | 1523022.2273 | 23991911.8026 | 57390673.5719 | 38734573.4195 | 4884656.1665 | 11205234.0544 | 117148151.5956 | 130862303.7422 | 343784.1273
79 | 10ppm B | 3740.5682 | 8207.7141 | 1510729.0989 | 874859.6081 | 326403.1344 | 431554.1958 | 172638309.5 | 53465014.0258 | 374038.5585 | 1829308.6643 | 5389990.3718 | 789437.9106 | 126736904.8777 | 33996.3739
80 | 10ppm C | 1150274.6887 | 44664.9231 | 605539.353 | 63391468.8195 | 13791694.1912 | 108106.8946 | 8280426.33 | 53502884.2476 | 33926.1209 | 715504.2799 | 526754.9027 | 92633.2121 | 126547215.713 | 3195.4228
81 | 10ppm D | 20481.8643 | 12786.6227 | 5648207.7686 | 315155710.2756 | 1933854.6777 | 777453.5034 | 7303737.042 | 54375880.354 | 19115790.3145 | 385544.8346 | 56728.7099 | 37685310.507 | 130218965.6444 | 162153.1316